**FT-AS20033XHS**

|  |  |  |
| --- | --- | --- |
| **Camera** |  |  |
| Image Sensor: | | | 2MP Progressive Scan CMOS |
| Effective Pixels: | | | 1920(H)x1080(V) |
| Signal System: | | | IP |
| White Balance: | | | Auto |
| AGC: | | | Auto/Manual |
| BLC: | | | Support |
| Focal Length: | | | 4.6-151.8MM, 33X |
| Signal Transfer: | | | IP |
| **Pan & Tilt** |  |  |
| Rotation Range: | | | Pan 360°, vertical 90°,Automatic turnover 180°  |
| Rotation Speed: | | | 80°/s  |
| Preset Points: | | | 256pcs preset( Dwell time 01-60s interval available) |
| Guard Tours: | | | 4 groups ( Each group 16 preset, dwell time and speed selectable) |
| AB scan range: | | | Any point in Pan range: 0º~360º |
| AB scan speed: | | | 1-9 grades |
| **Infrared** |  |  |
| IR irradiation distance: | | | 2000m |
| LEDs: | | | 8Pcs IR LED+2Pcs laser LED |
| Support Ambient Light Detection: | | | IR illumination on 1-9 Grads selectable |
| **General** |  |  |
| RS-485 Protocols: | | | Pelco-P, Pelco-D |
| Menu Language: | | | English |
| Power Supply: | | | 12V DC |
| Power Consumption: | | | ≤10W |
| Lightning Protection: | | | Transient voltage 6000V |
| Working Temperature/Humidity: | | | -15℃~+60℃ |
| Dimensions: | | | 30\*30\*42cm |
| Weight (approx.): | | | 10 KG |
|  |  |  |
|  |  |  |